DTI Processing

- Rename folders properly or change codes to access them correctly

- Primary codes: Diffusion_topup.m and dti_proc_topup.m

- Files: acq_params_topup.txt, Diff_AP.nii, Diff_PA.nii

  - Acq_params_topup.txt is a text file you need to make or can copy from a previously used folder

  - Diff_AP.nii = .nii file from diffusion data set AP

  - Diff_PA.nii = .nii file from diffusion data set PA

- Run Diffusion_topup.m first and then dti_proc_topup.m second

  - Have to change voxel size in dti_proc_topup.m